## Sheet1
region | rn | facility_name | respondent_name | cn | address | city | county | state | zip | full_address | entity_id | program | investigation_date | file_date | order_date | status_code | enforcement_type | enforcement_date | violation_id | resolution_status | severity | statute | media | violation_description | compliance_notes
REGION 11 - AUSTIN | RN104005434 | CITY OF DRIPPING SPRINGS | City of Dripping Springs | CN602491284 |  |  | HAYS |  |  | 23127 Ranch to Market Rd 150, Driftwood, TX 78619 | 982429 | WWCMPL | 2012-01-26 | 2012-01-27 | 2012-03-21 | DAPPROVED | NOE | 2012-03-22 | 461758 | RESOLVED | B | 26.121(a)(1) | WATER | Failure to prevent an unauthorized discharge of sludge into or adjacent to water in the state | By April 10, 2012, the Respondent completely removed and disposed of the dried sludge from the affected area
REGION 11 - AUSTIN | RN102956448 | WOODCREEK WWTP | Woodcreek Utilities, Inc. | CN600725428 |  |  | HAYS |  |  | 2611 Farm to Market Rd 2325 | 988194 | WWTLPCCIDS | 2012-02-02 | 2012-02-02 | 2012-03-30 | DAPPROVED | NOE | 2012-04-02 | 462055 | RESOLVED | B | 26.121(a)(2) | WATER | failed to prevent the unauthorized discharge of wastewater into or adjacent to water in the state | The Respondent came into compliance on January 20, 2012
REGION 11 - AUSTIN | RN102768231 | DRIPPING SPRINGS APARTMENTS | Dripping Springs Apartments, L.P. | CN601407265 |  |  | HAYS |  |  | 289 Springs Ln, Dripping Springs, TX 78620 | 994279 | WWTLPCCIDS | 2012-03-13 | 2012-03-13 | 2012-04-13 | DAPPROVED | NOE | 2012-04-16 | 463812 | RESOLVED | B | 305.125(1) | WATER | Failed to obtain and analyze soil samples from the land application site. Specifically, annual soil samples were not collected and analyzed for the years 2009 and 2010. | By August 31, 2011, conducted annual soil sampling.
REGION 11 - AUSTIN | RN101608255 | SALT LICK WWTP | "Driftwood Equities, Ltd." | CN600861660 |  |  | HAYS |  |  | 18300 RM 1826, Driftwood, TX 78619 | 1027121 | WWTLPCCIDS | 2012-08-08 | 2012-08-22 | 2012-10-17 | DAPPROVED | NOE | 2012-10-18 | 475751 | RESOLVED | C | 319.7(a) | WATER | Failure to adequately record monitoring activities | Adequate compliance documentation was observed on August 22, 2012. Monitoring records were being kept that included the time of measurement and identity of the individual who made the measurement.
REGION 11 - AUSTIN | RN104789094 | MANDOLA ESTATE WINERY | Duchman, Ltd. | CN602936304 | 13308 FM 150 W | DRIFTWOOD | HAYS | TX | 78619 | 13308 FM 150 W , DRIFTWOOD , TX 78619 | 1034690 | WWTLPCCIDS | 2012-09-19 | 2012-09-19 | 2012-11-15 | DAPPROVED | NOE | 2012-11-14 | 478560 | RESOLVED | B | 26.121 | WATER | Failure to prevent the unauthorized discharge of wastewater or any other waste. Specifically, there was a tear along a seam in the evaporation pond liner from the top of the pond to the middle of the pond which resulted in a discharge of wastewater to the ground in the immediate area of the tear, and there was water in the pipe which serves as the leak detection system for the evaporation pond. | Compliance documents demonstrate the pond liner was repaired/replaced on 2/28/2013.
REGION 11 - AUSTIN | RN102182680 | CITY OF KYLE WWTP | Aqua Operations, Inc. | CN602931685 | 941 NEW BRIDGE DR | KYLE | HAYS | TX | 78640 | 941 NEW BRIDGE DR , KYLE , TX 78640 | 1053683 | WWSSOMAJFC | 2012-11-20 | 2013-01-18 | 2013-02-01 | DAPPROVED | NOE | 2013-02-01 | 487978 | RESOLVED | B | 26.121(a)(1) | WATER | Failed to prevent discharge of liquids from the screening and debris container. | Documentation was received 10/22/2015 demonstrating compliance. Specifically, the Respondent submitted a solids management plan that outlined a program of internal process control. The plan included Collection System Maintenance (p35) which details the need for inventory, sewer cleaning, accurate recordkeeping and visual inspections to prevent discharge of liquids from the screening and debris container at lift stations and debris traps.
REGION 11 - AUSTIN | RN101703288 | CITY OF BUDA WWTP | City of Buda | CN600739866 |  |  | HAYS |  |  | 525 Garison Rd, Buda, TX 78610 | 1570367 | ER OS | 2019-04-14 | 2019-04-15 | 2019-06-12 | DAPPROVED | NOE | 2019-06-12 | 717398 | RESOLVED | A | 26.121(a)(1) | AIR | Failed to prevent the unauthorized discharge of wastewater into or adjacent to any water in the state. | On April 17, 2019, the City of Buda submitted documentation (5-Day Spill Report) indicating they will repair the wet well pump, if possible, and will have the alarm company, Control Panels USA ensure the alarm system is working properly. Additionally, the City of Buda disinfected the soils affected by the unauthorized release.
REGION 11 - AUSTIN | RN102314218 | RAILYARD PLANT | Aus-Tex Parts & Services, Ltd. | CN601121122 |  |  | HAYS |  |  | 187 Depot Dr, Kyle, TX 78640 | 1612572 | WWCMPL | 2019-10-28 | 2019-10-28 | 2019-12-16 | DAPPROVED | NOE | 2019-12-16 | 688371 | RESOLVED | C | 305.125(1) | WATER | Failure to maintain a minimum dissolved oxygen of 2.0 mg/L in the effluent. | According to the Wastewater Treatment Facility's (WWTF's) self-reported data, the WWTF was compliant with the permitted limit for dissolved oxygen (D.O.) in September 2018, October 2018, and November 2018. Additionally, the sample result for the D.O. grab sample collected during the current investigation was compliant. Therefore, this alleged violation was resolved.
REGION 11 - AUSTIN | RN104000658 | REUNION RANCH WASTEWATER PLANT A | Reunion Ranch WCID | CN603086588 | 100 JAYNE CV | AUSTIN | HAYS | TX | 78737 | 100 JAYNE CV , AUSTIN , TX 78737 | 1665308 | WWFI | 2020-07-10 | 2020-08-11 | 2020-09-25 | DAPPROVED | NOE | 2020-09-25 | 757817 | RESOLVED | B | 217.330(d) | WATER | 3. Failed to provide vacuum breakers on all potable water spigots. Specifically, an atmospheric vacuum breaker was not provided on the potable water spigot located at the water meter box | Respondent submitted documentation on November 12, 2020 showing compliance
REGION 11 - AUSTIN | RN105309165 | ARROWHEAD RANCH WWTP | Arrowhead Ranch Utility Company LLC | CN603603788 | 2303 W HIGHWAY 290 | DRIPPING SPRINGS | HAYS | TX | 78620 | 2303 W HIGHWAY 290 , DRIPPING SPRINGS , TX 78620 | 1775340 | WWTLPCCIDS | 2021-11-23 | 2022-02-04 | 2022-02-10 | DAPPROVED | NOE | 2022-02-10 | 801190 | RESOLVED | B | 26.121(a)(1) | WATER | Failed to prevent the unauthorized discharge of wastewater. | On December 16, 2021 and December 23, 2021, adequate documentation was received to resolve the alleged violation.
REGION 11 - AUSTIN | RN100838648 | CITY OF SAN MARCOS WWTP | City of San Marcos | CN600521272 | 630 E HOPKINS ST | SAN MARCOS | HAYS | TX | 78666 | 630 E HOPKINS ST , SAN MARCOS , TX 78666 | 1817686 | SWCCIMSGP | 2022-04-14 | 2022-04-14 | 2022-05-31 | DAPPROVED | NOE | 2022-05-31 | 812756 | RESOLVED | B | 26.121(a)(1) | WATER | Failed to prevent the unauthorized discharge of wastewater. | The debris was disposed of and manholes were checked for leaks in low lying areas.